## Revision Control
Revision Control
Revision | Revised by | Revision date | Change Description
0.1 | Maja Husum | 2024-04-04 | First Version of risk analysis
0.2 | Maja Husum | 2024-04-05 | Second Version of risk analysis

## Usability Risk
Hazard ID# | Hazard | Cause of hazardous situation | Sequence of events | Hazardous situation | Harm | Risk estimate |  |  | Risk Mitigation | Residual risk estimate |  |  | Is risk acceptable?
[6 empty] | Severity | Probability | RPN value |  | Severity | Probability | RPN value
H1 | Data, confidentiality | Insufficient encryption/access control | 1. Data is collected 2. Transmitted 3. Stored without adequate security | Unauthorized access to patient data | Privacy breach, legal consequences | 4 | 2 | 8
H2 | Diagnostic information, patient identity/information | Wrong ID linking or data mix-up | 1. Data is recorded 2. assigned to wrong patient or corrupted 3.Wrong patient information is used 4. The user acts on the basis of the visualized data | Wrong patient information is used | Incorrect treatment adjustment, reduced patient safety, potential worsening of condition | 5 | 2 | 10 | A. The database will use an integer as primary key to link data in the code, where CPR is a unique key in the database B. The patient name and CPR will be clearly displayed in all views in a uniform manner, which will validate if the data belongs to the accessed patient | 5 | 1 | 5 | Yes
H3 | Functionality, Alarm | Incorrect threshold settings, or failure in data processing | 1. Sensor data collected 2. system fails to detect abnormal condition or triggers incorrect alarm 3. alarm is missing or incorrect | neurologist is not alerted to significant symptom changes or receives false alert | Delayed or incorrect treatment adjustment, reduced patient safety, potential worsening of condition | 4 | 3 | 12 | A. input data will be validated with unit tests for all branches of notifications and data processing logic B. The neurologist is informed that the notifications are only indicative, and in the event of errors or missing data, error messages will be displayed | 4 | 1.5 | 6 | Yes
H4 | Functionality, System failure | Server crash, network failure | 1. System goes offline 2. no data can be transmitted or accessed 3. The user acts on the basis of the visualized data | neurologist cannot access patient data at all | No monitoring or delayed clinical response | 3 | 2 | 6
H5 | [7 empty] | 0

## Software Risk
Hazard ID# | Hazard | Cause of hazardous situation | Sequence of events | Hazardous situation | Harm | Object at risk |  |  | Risk estimate |  |  | Risk Mitigation | Residual risk estimate |  |  | Is risk acceptable? | New hazards or hazardous situations?
[6 empty] | Patient | Operator | Equipment | O1 | S1 | RF1 |  | O2 | S2 | RF2
SWR1 | Alarm | The system sends the user too many notifications | 1. The user has turned all notifications on | User is over-stimulated | Negligible | x |  |  | 4 | 1 | 4
SWR2 | Alarm | The system is incompatible with the operating system | 1. The system sends the user illegible notifications | User is not informed | Negligible | x |  |  | 4 | 1 | 4
SWR3 | Alarm | The system sends the user unwanted notifications | 1. The user has turned all notifications off 2. The system does not register the disabled notifications | User is misinformed | Negligible | x |  |  | 2 | 1 | 2
SWR4 | Alarm | The system does not send the user notifications | 1. The user has turned all notifications on 2. The system does not register the enabled notifications | User is not informed | Erroneous treatment | x |  |  | 2 | 2 | 4
SWR5 | Data integrity | The system is incompatible with the users mobile phone | 1. The system retrieves an incorrect date 2. The system displays an incorrect date | The user receives erroneous stimulation | Erroneous treatment | x |  |  | 2 | 2 | 4
SWR6 | Data integrity | The database saves a daily evaluation entry incorrectly | 1. The system displays incorrectly saved data 2. The user acts on the basis of the visualized data | The user receives erroneous stimulation | Erroneous treatment | x |  |  | 1 | 2 | 2
SWR7 | Data integrity | The database overwrites previous daily evaluations | 1. The system displays incorrectly saved data 2. The user acts on the basis of the visualized data | The user receives erroneous stimulation | Erroneous treatment | x |  |  | 1 | 2 | 2
SWR8 | Data access | The system is unable to connect to the database | 1. The system can not visualize data | Data from the database is unavailable | Negligible | x |  |  | 2 | 1 | 2
SWR9 | Data availability | There is no available storage on the mobile phone for the database | 1. The system cannot store entered data | The system is unusable | Negligible | x |  |  | 1 | 1 | 1
SWR10 | Data access | The bluetooth connection is attacked by a malicious source | 1. The malicious source can monitor stimulation data | Sensitive data is accessed | Data breach | x |  |  | 1 | 1 | 1
SWR11 | Data access | The system is unable to connect to UCon | 1. The Ucon is out of range | Data from UCon is unavailable | Negligible | x |  |  | 2 | 1 | 2
SWR12 | Data access | The system is unable to connect to UCon | 1. The Ucon is turned off | Data from UCon is unavailable | Negligible | x |  |  | 4 | 1 | 4
SWR13 | Data integrity | The system erroneously reads services from Ucon | 1. The system visualizes data incorrectly 2. The user acts on the basis of the visualized data | The user receives erroneous stimulation | Erroneous treatment | x |  |  | 1 | 2 | 2
SWR14 | Data integrity | The system erroneously writes services to UCon | 1. The system receives unexpected data | The system does not receive requested information | Negligible | x |  |  | 1 | 1 | 1
SWR15 | Data transfer | Packet loss in the Bluetooth connection | 1. The system query data from Ucon 2. Data is lost | The system does not receive requested data | Negligible | x |  |  | 2 | 1 | 2
SWR16 | Data integrity | The system is incompatible with the users mobile phone | 1. The system cannot open links to guides | The user does not have access to guides via the system | Negligible | x |  |  | 2 | 1 | 2